PHY 243 – Chapter 8 Homework Problems

- An open-air ionization chamber with a 300 cm3 volume is calibrated at a facility in Florida. The registered atmospheric pressure was 760 torr and the ambient temperature was 20(C. The sample is taken to Denver, CO and used for survey work on a cool day. The outside temperature was 55(F and the pressure read 0.75 atm. If the meter read 12 mR/hr, what was the true exposure rate at that location?

- Calculate the radiation exposure rate registered by an air-filled ionization chamber which registered a steady state current of 5 picoamperes (pA) while measuring a gamma ray field. The chamber volume was 150 cm3, the ambient temperature was 25(C, and the pressure was 790 mm Hg (torr). (Note that the Roentgen is officially defined at 0(C and 760 mm Hg).

- Using a benchtop Geiger counter, you obtain the following data using a “split source”. Calculate the detector resolving time.

  - S1: 101,980 counts/5 min.

  - S2:139,500 counts/5 min.

  - S1+S2:199,000 counts/5 min.

  - Background: 291 counts/min.

- Assuming nearly complete collection efficiency for photoelectrons in a typical PMT, if the multiplication factor (() is 5, how much gain will one get from a tube with ten dynode stages? How many stages would be needed to get the same gain from “high-yield NEA” type dynodes which have a ( of 55?

- Where will the Compton edge occur for a 1.46 MeV photon? Roughly sketch out what the gamma spectrum will look like for detection of a single photon at this energy, showing the photopeak, Compton gap, Compton edge, and Compton continuum.

- A laboratory standard has a mean activity of 256 counts/min. What is the probability of a 1 minute count yielding a value of exactly 256 counts? What is the probability of seeing any value between 240-272 counts in a 1 minute count?

- A sample is counted for 30 minutes, and yields 1220 counts. The background count rate for the detector is 5 cpm.

  - What are the standard deviation of the gross and background count rates for a 30 min count time?

  - What is the net count rate and its standard deviation?

  - Define a 95% confidence interval for the net count rate.

- A detector shows a background count of 500 counts in a 30 minute time. What would the LLD for this system be for counting times of:

  - 10 minutes

  - 30 minutes

  - 10 hours

- A detector system shows a background counting rate of 55 cpm. The detector efficiency for counting the radiation of interest is 35%. The chemical recovery for the process to prepare the samples is 80%. The radiation of interest appears with an abundance of 74% in the radionuclide’s decay scheme. Calculate the following quantities for a 1 minute count of a 3 kg sample on this detector system. Express all answers in Bq/kg (absolute).

  - LC

  - LD

  - LQ